## Slide 1: ECT 468 RENEWABLE ENERGY SYSTEMS

## Slide 2: Module I Introduction to Renewable Energy (RE)Sources
World energy scenario
Overview of conventional energy sources, their limitation
Need of renewable energy, potential & development of renewable energy sources
Renewable energy in India
An overview of types of renewable energy systems - Wind power, hydropower (micro and mini), solar energy, biomass, Biofuel, geothermal heat energy, pros and cons, and applications

## Slide 3: Module II Solar Energy
Introduction to photovoltaic (PV) systems - Principle of PV conversion
Commercial solar cell
Thin film PV device fabrication - LPCVD, APCVD, PECVD, Tandem Solar cell fabrication
Solar power extraction using PV-Cells, I-V Characteristics
PV-Inverters without D.C. to D.C. converters
Standalone and grid-collected PV systems
Grid interfacing-with isolation, without isolation,
Maximum Power Point Tracking Methods(MPPT)
PV-Inverters with D.C. to D.C. converters-on low-frequency side and high frequency side with isolation, without isolation

## Slide 4: Module III Wind Energy
Sources and potentials, Evaluation of Wind Intensity, Topography
General Classification of Wind Turbines-Rotor Turbines, Multiple-Blade Turbines, Drag Turbines, Lifting Turbines
Toroidal Rotor Amplifier Platform (TARP)–Wind amplified rotor platform (WARP)
Generators and speed control used in wind power energy
SCIG and DFIG, Synchronous Generator-external magnetized, Synchronous Generator-permanent magnets
Speed control used in wind power energy, Fixed speed with capacitor bank, Rotor resistance control

## Slide 5: Module IV Electronic conversion systems
Electronic conversion systems application to renewable energy generation systems: Basic schemes and functional advantages
Power control and management systems for grid integration, island detection systems, synchronizing with the grid
Issues in integration of converter based sources
Network voltage management
Power quality management and Frequency management
Influence of PV/WECS on system transient response

## Slide 6: Module V Grid connectivity of RE systems
Introduction to grid connectivity of RE systems, smart grid and emerging technologies, operating principles and models of smart gird components,
Key technologies for generation, networks, loads, and their control capabilities
Evolution of electricity metering, key components of smart metering,
Overview of the hardware used for smart meters, and smart metering protocols.
Structure and main components of a distribution management system,
Supervisory control and data acquisition (SCADA)
Distribution system modelling,
New trends for smart grids, topology analysis, and power flow analysis

## Slide 7
CO No. | Course Outcome
CO1 | Understand the need, importance and scope of various Non-Conventional sources of energy
CO2 | Outline the concepts and technologies related to renewable energy systems using wind and Solar-PV
CO3 | Understand the integration of smart grid with renewable energy systems
CO4 | Explain the concept of distribution management system.
CO5 | Describe the fundamentals of Smart metering